## Inputs and Outputs
Integrated Port Cash Flow |  |  | KEY
SYSTEM DESIGN |  |  | Calculated
Nameplate capacity (kW) | 10800 |  | Input from SAM
Year 1 net energy (kWh/year) | 0 |  | Annual values from SAM
SYSTEM COSTS |  |  | RESULTS
Total Installed Cost ($) | 21987000 |  | LCOE (real) ¢/kWh | -4.2323
Operation and Maintenance (O&M) |  |  | LCOE (nominal), ¢/kWh | -5.4124
Fixed (Annual) O&M ($/yr) | 0 |  | NPV | 14054641.7805
Escalation rate (%/year) | 0 |  | Payback period, years | 5.7187
Fixed O&M ($/kW-yr) | 18 |  | Discounted payback,yrs | 9.0424
Escalation rate (%/year) | 0
Variable O&M ($/MWh) | 0
Escalation rate (%/year) | 0
Battery replacements | None
Fuel
CSP, generic system
Annual fuel usage (kWh) | 0
Heat rate, generic only (MMBTU/MWh) | 3.4121
Fuel cost ($/MMBtu) | 0
Escalation rate (%/year) | 0
Biomass power
Annual biomass feedstock usage (dry ton) | 0
Biomass feedstock cost ($/dry ton) | 0
Escalation rate (%/year) | 0
Coal feedstock usage (dry ton) | 0
Coal feedstock cost ($/dry ton) | 0
Escalation rate (%/year) | 0
LOAN PARAMETERS
Debt fraction (% of total installed cost) | 70
Loan term (years) | 20
Loan rate (%/year) | 5
ANALYSIS PARAMETERS
Analysis period (years) | 30
Inflation rate (%/year) | 2.5
Real discount rate (%/year) | 6.4
Nominal discount rate (%/year) | 9.06
TAX AND INSURANCE RATES
Federal income tax rate in Year 1(%) | 21
State income tax rate in Year 1 (%) | 3
Sales tax (% of direct costs) | 0
Insurance rate (%/year) | 0
Property Tax (%/year)
Assessed percentage (% of total installed cost) | 100
Assessed value ($) | 21987000
Annual decline (%/year) | 0
Property tax rate (% of assessed value) | 0
SALVAGE VALUE
Net Salvage Value (% of total installed cost) | 20
TAX CREDITS
Investment tax credit (ITC) |  |  | Reduces depreciation and ITC basis
As fixed amount | Amount |  | Federal | State
Federal ($) | 0 |  | Yes | Yes
State ($) | 0 |  | No | No
As percentage | % | Maximum
Federal | 30 | 3e+39 | Yes | Yes
State | 0 | 3e+39 | No | No
Production tax credit (PTC) | Amount ($/kWh) | Term (years) | Escalation (%)
Federal ($/kWh) | 0 | 10 | 0
State ($/kWh) | 0 | 10 | 0
DIRECT CASH INCENTIVES
Investment based incentive (IBI) |  |  | Incentive is taxable |  | Reduces depreciation and ITC basis
As fixed amount | Amount ($) |  | Federal | State | Federal | State
Federal ($) | 0 |  | Yes | Yes | No | No
State ($) | 0 |  | Yes | Yes | No | No
Utility ($) | 0 |  | Yes | Yes | No | No
Other ($) | 0 |  | Yes | Yes | No | No
As percentage | % | Maximum ($)
Federal (% of total installed cost) | 0 | 1e+38 | Yes | Yes | No | No
State (% of total installed cost) | 0 | 1e+38 | Yes | Yes | No | No
Utility (% of total installed cost) | 0 | 1e+38 | Yes | Yes | No | No
Other (% of total installed cost) | 0 | 1e+38 | Yes | Yes | No | No
Capacity based incentive (CBI) | Amount ($/W) | Maximum ($)
Federal ($/W) | 0 | 1e+38 | Yes | Yes | No | No
State ($/W) | 0 | 1e+38 | Yes | Yes | No | No
Utility ($/W) | 0 | 1e+38 | Yes | Yes | No | No
Other ($/W) | 0 | 1e+38 | Yes | Yes | No | No
Production based incentive (PBI) | Amount ($/kWh) | Term (years) | Escalation (%/year) | Federal taxable | State taxable
Federal ($/kWh) | 0 | 10 | 0 | Yes | Yes
State ($/kWh) | 0 | 10 | 0 | Yes | Yes
Utility ($/kWh) | 0 | 10 | 0 | Yes | Yes
Other ($/kWh) | 0.2 | 20 | 0 | Yes | Yes
DEPRECIATION AND DEBT INTEREST DEDUCTION
Federal (N/A for residential) | No Depreciation | See Row 98 below for annual depreciation rates
State (N/A for residential) | No Depreciation
Tax deductible debt interest? (Residential Mortgage and Commercial Only) | Yes
ANNUAL VALUES | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100
Annual energy (kWh) | 0 | 17197500 | 15654200 | 15481700 | 15405400 | 15329700 | 15249900 | 15167300 | 15096900 | 15017100 | 14934600 | 14860900 | 14782200 | 14702100 | 14619800 | 14543700 | 14465300 | 14384400 | 14310100 | 14232600 | 14152900 | 14074600 | 13995500 | 13913300 | 13836700 | 13762000 | 13681800 | 13599900 | 13526700 | 13447200 | 13365900
Savings
Value of electricity savings ($) | 0 | 640885 | 596630 | 602056 | 614292 | 626656 | 638726 | 651133 | 664835 | 677400 | 690430 | 704516 | 718221 | 731907 | 745952 | 760947 | 775330 | 790287 | 806327 | 821720 | 837382 | 853850 | 870438 | 886671 | 904023 | 921918 | 939077 | 956746 | 976076 | 993962 | 1012550
Value of thermal energy savings (fuel cell only) ($) | 0 | 23632.4 | 23524.5 | 23268.7 | 24680.7 | 25715.2 | 25500.9 | 25543.8 | 28127.9 | 27906.6 | 27547.6 | 29673.1 | 30450.3 | 30173.2 | 30788.5 | 33213.3 | 32926.1 | 32499.9 | 35942.8 | 35951.2 | 35561.2 | 37691.3 | 39217.9 | 38594.4 | 39845.5 | 42634.1 | 42089.4 | 42015.5 | 46242.9 | 45696 | 44988
Depreciation (Commercial only)
State depreciation percentages (fraction) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Federal depreciation percentages (fraction) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Income tax rates specified as annual values
State income tax rate (%/year) | 0 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Federal income tax rate (%/year) | 0 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21
Operation and maintenance costs specified as annual values
Fixed cost ($)
Fixed rate per capacity ($/kW)
Fixed cost per capacity ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Variable rate by production ($/MWh)
Variable cost by production ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Battery replacement at specified schedule
Battery capacity
Battery replacement option
Battery replacement cost ($/kWh)
Battery replacement cost escalation (%/year)
Battery replacement cost if required ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Battery replacements per year
Battery replacement cost ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Battery replacements as calculated
Battery replacement cost ($) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating costs specific to battery systems
Battery fixed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Battery capacity-based | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Battery variable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating costs specific to fuel cell systems
Fuel cell fixed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel cell capacity-based | 0 | 54000 | 55350 | 56733.7 | 58152.1 | 59605.9 | 61096 | 62623.4 | 64189 | 65793.8 | 67438.6 | 69124.6 | 70852.7 | 72624 | 74439.6 | 76300.6 | 78208.1 | 80163.3 | 82167.4 | 84221.6 | 86327.1 | 88485.3 | 90697.4 | 92964.9 | 95289 | 97671.2 | 100113 | 102616 | 105181 | 107811 | 110506
Fuel cell variable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel cell replacement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel cell fuel | 0 | 15160.3 | 15592.4 | 15827.3 | 16377 | 16860.3 | 17169.4 | 17446.6 | 18297.4 | 18605.4 | 18793.9 | 19679.1 | 20046 | 20401.8 | 20617.8 | 21206.3 | 21705 | 22134.8 | 22968.5 | 23588.3 | 24072.1 | 24741.9 | 25112.4 | 25419.1 | 26318.8 | 27190.2 | 27674.3 | 28149.9 | 29265.3 | 29802.8 | 30346.6
Investment Tax Credit (ITC) specified as annual values
Federal ITC as fixed amount |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State ITC as fixed amount |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Federal ITC percentage (%) |  | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Federal ITC as percentage maximum amount |  | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38
State ITC percentage (%) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State ITC as percentage maximum amount |  | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38
Production Based Incentive (PBI) specified as annual values
Federal
State
Utility
Other
Production Tax Credit (PTC) specified as annual values
Federal
State
Battery energy
Energy generated without battery or curtailment (kWh) | 0 | 17219900 | 15675300 | 15502600 | 15425900 | 15349900 | 15269900 | 15187000 | 15116400 | 15036300 | 14953600 | 14879700 | 14800700 | 14720300 | 14637900 | 14561500 | 14482900 | 14401900 | 14327400 | 14249800 | 14169900 | 14091400 | 14012300 | 13929900 | 13853100 | 13778300 | 13698100 | 13615900 | 13542700 | 13463000 | 13381800
Battery annual energy discharged (kWh) | 0 | 203106 | 213713 | 210172 | 206150 | 202665 | 200240 | 197342 | 194751 | 192250 | 190859 | 188339 | 184136 | 182017 | 180148 | 178351 | 176230 | 174393 | 172924 | 171112 | 169511 | 168047 | 166930 | 165499 | 163929 | 162758 | 161249 | 159776 | 158819 | 157066 | 156997
Fuel cell energy
Fuel cell annual energy discharged (kWh) | 0 | 1740890 | 274673 | 180288 | 181933 | 184285 | 182625 | 178117 | 185851 | 184129 | 179828 | 184276 | 183566 | 181532 | 177471 | 179526 | 179250 | 176589 | 180449 | 181166 | 179673 | 179538 | 178758 | 174760 | 176314 | 179872 | 177959 | 174186 | 179330 | 177944 | 175070
Cash flow reads the annual income tax rate from the table under "ANNUAL VALUES" below. Year 1 tax rates are shown here for reference.
The sales tax rate is shown here for reference, but is not used in the workbook calculations. SAM passes the total installed cost value to the spreadsheet. That value includes the sales tax, which is calculated on SAM's System Costs input page.
'n/a' indicates O&M costs entered as annual values. See "ANNUAL VALUES" below.
'n/a' for a PTC amount indicates amounts entered as annual values. See "ANNUAL VALUES" below.
'n/a' for a PBI amount indicates amounts entered as annual values. See "ANNUAL VALUES" below.
For ITC allocated to multiple years, see "ANNUAL VALUES" below: Values here are shown as sums of annual values for reference.

## Cash Flow
Integrated Port Cash Flow
Operating Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Production
Annual energy (AC kWh) | 0 | 17197500 | 15654200 | 15481700 | 15405400 | 15329700 | 15249900 | 15167300 | 15096900 | 15017100 | 14934600 | 14860900 | 14782200 | 14702100 | 14619800 | 14543700 | 14465300 | 14384400 | 14310100 | 14232600 | 14152900 | 14074600 | 13995500 | 13913300 | 13836700 | 13762000 | 13681800 | 13599900 | 13526700 | 13447200 | 13365900 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Energy generated without battery or curtailment (kWh) | 0 | 640885 | 596630 | 602056 | 614292 | 626656 | 638726 | 651133 | 664835 | 677400 | 690430 | 704516 | 718221 | 731907 | 745952 | 760947 | 775330 | 790287 | 806327 | 821720 | 837382 | 853850 | 870438 | 886671 | 904023 | 921918 | 939077 | 956746 | 976076 | 993962 | 1012550 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Battery annual energy discharged (kWh) | 0 | 23632.4 | 23524.5 | 23268.7 | 24680.7 | 25715.2 | 25500.9 | 25543.8 | 28127.9 | 27906.6 | 27547.6 | 29673.1 | 30450.3 | 30173.2 | 30788.5 | 33213.3 | 32926.1 | 32499.9 | 35942.8 | 35951.2 | 35561.2 | 37691.3 | 39217.9 | 38594.4 | 39845.5 | 42634.1 | 42089.4 | 42015.5 | 46242.9 | 45696 | 44988 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel cell annual energy discharged (kWh) | 0 | 1740890 | 274673 | 180288 | 181933 | 184285 | 182625 | 178117 | 185851 | 184129 | 179828 | 184276 | 183566 | 181532 | 177471 | 179526 | 179250 | 176589 | 180449 | 181166 | 179673 | 179538 | 178758 | 174760 | 176314 | 179872 | 177959 | 174186 | 179330 | 177944 | 175070 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Savings
Value of electricity savings ($) | 0 | 640885 | 596630 | 602056 | 614292 | 626656 | 638726 | 651133 | 664835 | 677400 | 690430 | 704516 | 718221 | 731907 | 745952 | 760947 | 775330 | 790287 | 806327 | 821720 | 837382 | 853850 | 870438 | 886671 | 904023 | 921918 | 939077 | 956746 | 976076 | 993962 | 1012550 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Value of thermal energy savings (fuel cell only) ($) | 0 | 23632.4 | 23524.5 | 23268.7 | 24680.7 | 25715.2 | 25500.9 | 25543.8 | 28127.9 | 27906.6 | 27547.6 | 29673.1 | 30450.3 | 30173.2 | 30788.5 | 33213.3 | 32926.1 | 32499.9 | 35942.8 | 35951.2 | 35561.2 | 37691.3 | 39217.9 | 38594.4 | 39845.5 | 42634.1 | 42089.4 | 42015.5 | 46242.9 | 45696 | 44988 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating Expenses
Operation and Maintenance (O&M)
Fixed annual cost in $ |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Or from annual schedule |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity cost in $/kW |  | 194400 | 199260 | 204241.5 | 209347.5375 | 214581.2259 | 219945.7566 | 225444.4005 | 231080.5105 | 236857.5233 | 242778.9614 | 248848.4354 | 255069.6463 | 261446.3874 | 267982.5471 | 274682.1108 | 281549.1636 | 288587.8927 | 295802.59 | 303197.6547 | 310777.5961 | 318547.036 | 326510.7119 | 334673.4797 | 343040.3167 | 351616.3246 | 360406.7327 | 369416.901 | 378652.3236 | 388118.6316 | 397821.5974
Or from annual schedule |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Variable cost in $/MWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Or from annual schedule |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Battery replacement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Battery operating costs
Fixed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity-based | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Variable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel cell operating costs
Fixed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity-based | 0 | 54000 | 55350 | 56733.7 | 58152.1 | 59605.9 | 61096 | 62623.4 | 64189 | 65793.8 | 67438.6 | 69124.6 | 70852.7 | 72624 | 74439.6 | 76300.6 | 78208.1 | 80163.3 | 82167.4 | 84221.6 | 86327.1 | 88485.3 | 90697.4 | 92964.9 | 95289 | 97671.2 | 100113 | 102616 | 105181 | 107811 | 110506 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Variable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Replacement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel | 0 | 15160.3 | 15592.4 | 15827.3 | 16377 | 16860.3 | 17169.4 | 17446.6 | 18297.4 | 18605.4 | 18793.9 | 19679.1 | 20046 | 20401.8 | 20617.8 | 21206.3 | 21705 | 22134.8 | 22968.5 | 23588.3 | 24072.1 | 24741.9 | 25112.4 | 25419.1 | 26318.8 | 27190.2 | 27674.3 | 28149.9 | 29265.3 | 29802.8 | 30346.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel
Fuel cost, CSP and generic system only |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Or from annual schedule |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Biomass feedstock, biopower only |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Coal feedstock, biopower only |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Insurance |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Property tax |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Salvage value |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4397400
Total operating expenses |  | 263560.3 | 270202.4 | 276802.5 | 283876.6375 | 291047.4259 | 298211.1566 | 305514.4005 | 313566.9105 | 321256.7233 | 329011.4614 | 337652.1354 | 345968.3463 | 354472.1874 | 363039.9471 | 372189.0108 | 381462.2636 | 390885.9927 | 400938.49 | 411007.5547 | 421176.7961 | 431774.236 | 442320.5119 | 453057.4797 | 464648.1167 | 476477.7246 | 488194.0327 | 500182.801 | 513098.6236 | 525732.4316 | -3858725.8026
Property assesed value |  | 21987000 | 21987000 | 21987000 | 21987000 | 21987000 | 21987000 | 21987000 | 21987000 | 21987000 | 21987000 | 21987000 | 21987000 | 21987000 | 21987000 | 21987000 | 21987000 | 21987000 | 21987000 | 21987000 | 21987000 | 21987000 | 21987000 | 21987000 | 21987000 | 21987000 | 21987000 | 21987000 | 21987000 | 21987000 | 21987000
Tax Deductible Operating Expenses
Total operating expenses, Commercial only |  | 263560.3 | 270202.4 | 276802.5 | 283876.6375 | 291047.4259 | 298211.1566 | 305514.4005 | 313566.9105 | 321256.7233 | 329011.4614 | 337652.1354 | 345968.3463 | 354472.1874 | 363039.9471 | 372189.0108 | 381462.2636 | 390885.9927 | 400938.49 | 411007.5547 | 421176.7961 | 431774.236 | 442320.5119 | 453057.4797 | 464648.1167 | 476477.7246 | 488194.0327 | 500182.801 | 513098.6236 | 525732.4316 | -3858725.8026
Property tax payments, Residential only |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total deductible expenses |  | 263560.3 | 270202.4 | 276802.5 | 283876.6375 | 291047.4259 | 298211.1566 | 305514.4005 | 313566.9105 | 321256.7233 | 329011.4614 | 337652.1354 | 345968.3463 | 354472.1874 | 363039.9471 | 372189.0108 | 381462.2636 | 390885.9927 | 400938.49 | 411007.5547 | 421176.7961 | 431774.236 | 442320.5119 | 453057.4797 | 464648.1167 | 476477.7246 | 488194.0327 | 500182.801 | 513098.6236 | 525732.4316 | -3858725.8026
Project Debt
Debt sizing
Total installed cost less IBI and CBI | 21987000
Debt amount | 15390900
Equity | 6596100
Debt payments
Balance |  | 15390900 | 14925439.3648 | 14436705.6979 | 13923535.3476 | 13384706.4797 | 12818936.1685 | 12224877.3418 | 11601115.5737 | 10946165.7171 | 10258468.3678 | 9536386.151 | 8778199.8234 | 7982104.1793 | 7146203.7531 | 6268508.3056 | 5346928.0857 | 4379268.8548 | 3363226.6623 | 2296382.3602 | 1176195.843 | 3.7253e-09 | 3.7253e-09 | 3.7253e-09 | 3.7253e-09 | 3.7253e-09 | 3.7253e-09 | 3.7253e-09 | 3.7253e-09 | 3.7253e-09 | 3.7253e-09
Interest |  | 769545 | 746271.9682 | 721835.2849 | 696176.7674 | 669235.324 | 640946.8084 | 611243.8671 | 580055.7787 | 547308.2859 | 512923.4184 | 476819.3076 | 438909.9912 | 399105.209 | 357310.1877 | 313425.4153 | 267346.4043 | 218963.4427 | 168161.3331 | 114819.118 | 58809.7922 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal |  | 465460.6352 | 488733.667 | 513170.3503 | 538828.8678 | 565770.3112 | 594058.8268 | 623761.7681 | 654949.8565 | 687697.3493 | 722082.2168 | 758186.3276 | 796095.644 | 835900.4262 | 877695.4475 | 921580.2199 | 967659.2309 | 1016042.1925 | 1066844.3021 | 1120186.5172 | 1176195.843 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total P&I Payment |  | 1235005.6352 | 1235005.6352 | 1235005.6352 | 1235005.6352 | 1235005.6352 | 1235005.6352 | 1235005.6352 | 1235005.6352 | 1235005.6352 | 1235005.6352 | 1235005.6352 | 1235005.6352 | 1235005.6352 | 1235005.6352 | 1235005.6352 | 1235005.6352 | 1235005.6352 | 1235005.6352 | 1235005.6352 | 1235005.6352 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pre-tax cash flow | -6596100 | -1498565.9352 | -1505208.0352 | -1511808.1352 | -1518882.2727 | -1526053.0611 | -1533216.7918 | -1540520.0357 | -1548572.5457 | -1556262.3585 | -1564017.0966 | -1572657.7706 | -1580973.9815 | -1589477.8226 | -1598045.5823 | -1607194.646 | -1616467.8988 | -1625891.6278 | -1635944.1252 | -1646013.1899 | -1656182.4313 | -431774.236 | -442320.5119 | -453057.4797 | -464648.1167 | -476477.7246 | -488194.0327 | -500182.801 | -513098.6236 | -525732.4316 | 3858725.8026
Direct Cash Incentives
Investment-based incentives (IBI)
Federal IBI | 0
State IBI | 0
Utility IBI | 0
Other IBI | 0
Total | 0
Capacity-based incentives (CBI)
Federal CBI | 0
State CBI | 0
Utility CBI | 0
Other CBI | 0
Total | 0
Performance-based incentives (PBI)
Federal PBI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State PBI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Utility PBI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other PBI |  | 3439500 | 3130840 | 3096340 | 3081080 | 3065940 | 3049980 | 3033460 | 3019380 | 3003420 | 2986920 | 2972180 | 2956440 | 2940420 | 2923960 | 2908740 | 2893060 | 2876880 | 2862020 | 2846520 | 2830580 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total |  | 3439500 | 3130840 | 3096340 | 3081080 | 3065940 | 3049980 | 3033460 | 3019380 | 3003420 | 2986920 | 2972180 | 2956440 | 2940420 | 2923960 | 2908740 | 2893060 | 2876880 | 2862020 | 2846520 | 2830580 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Investment Tax Credit
Investment Tax Credit (ITC)
State
ITC as fixed amount |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ITC basis | 21987000
ITC percentage (%) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ITC as percentage maximum |  | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ITC as percentage amount |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Federal
ITC as fixed amount |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ITC basis | 21987000
ITC percentage (%) |  | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ITC as percentage maximum |  | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ITC as percentage amount |  | 6596100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total |  | 6596100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State Income Tax
Total taxable income before deductions |  | 3439500 | 3130840 | 3096340 | 3081080 | 3065940 | 3049980 | 3033460 | 3019380 | 3003420 | 2986920 | 2972180 | 2956440 | 2940420 | 2923960 | 2908740 | 2893060 | 2876880 | 2862020 | 2846520 | 2830580 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Deductions
Deductible operating expenses |  | 263560.3 | 270202.4 | 276802.5 | 283876.6375 | 291047.4259 | 298211.1566 | 305514.4005 | 313566.9105 | 321256.7233 | 329011.4614 | 337652.1354 | 345968.3463 | 354472.1874 | 363039.9471 | 372189.0108 | 381462.2636 | 390885.9927 | 400938.49 | 411007.5547 | 421176.7961 | 431774.236 | 442320.5119 | 453057.4797 | 464648.1167 | 476477.7246 | 488194.0327 | 500182.801 | 513098.6236 | 525732.4316 | -3858725.8026
Depreciation, Commercial only
Percentage |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Basis | 18688950
Amount |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest payment, Residential Mortgage and Commercial only |  | 769545 | 746271.9682 | 721835.2849 | 696176.7674 | 669235.324 | 640946.8084 | 611243.8671 | 580055.7787 | 547308.2859 | 512923.4184 | 476819.3076 | 438909.9912 | 399105.209 | 357310.1877 | 313425.4153 | 267346.4043 | 218963.4427 | 168161.3331 | 114819.118 | 58809.7922 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total deductions |  | 1033105.3 | 1016474.3682 | 998637.7849 | 980053.4049 | 960282.7499 | 939157.965 | 916758.2676 | 893622.6892 | 868565.0091 | 841934.8797 | 814471.4429 | 784878.3374 | 753577.3964 | 720350.1348 | 685614.4261 | 648808.6679 | 609849.4354 | 569099.8231 | 525826.6727 | 479986.5882 | 431774.236 | 442320.5119 | 453057.4797 | 464648.1167 | 476477.7246 | 488194.0327 | 500182.801 | 513098.6236 | 525732.4316 | -3858725.8026
Total taxable income less deductions |  | 2406394.7 | 2114365.6318 | 2097702.2151 | 2101026.5951 | 2105657.2501 | 2110822.035 | 2116701.7324 | 2125757.3108 | 2134854.9909 | 2144985.1203 | 2157708.5571 | 2171561.6626 | 2186842.6036 | 2203609.8652 | 2223125.5739 | 2244251.3321 | 2267030.5646 | 2292920.1769 | 2320693.3273 | 2350593.4118 | -431774.236 | -442320.5119 | -453057.4797 | -464648.1167 | -476477.7246 | -488194.0327 | -500182.801 | -513098.6236 | -525732.4316 | 3858725.8026
Income tax rate (%/year) |  | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Income tax |  | 72191.841 | 63430.969 | 62931.0665 | 63030.7979 | 63169.7175 | 63324.661 | 63501.052 | 63772.7193 | 64045.6497 | 64349.5536 | 64731.2567 | 65146.8499 | 65605.2781 | 66108.296 | 66693.7672 | 67327.54 | 68010.9169 | 68787.6053 | 69620.7998 | 70517.8024 | -12953.2271 | -13269.6154 | -13591.7244 | -13939.4435 | -14294.3317 | -14645.821 | -15005.484 | -15392.9587 | -15771.9729 | 115761.7741
State PTC |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State ITC |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State tax savings/liability |  | -72191.841 | -63430.969 | -62931.0665 | -63030.7979 | -63169.7175 | -63324.661 | -63501.052 | -63772.7193 | -64045.6497 | -64349.5536 | -64731.2567 | -65146.8499 | -65605.2781 | -66108.296 | -66693.7672 | -67327.54 | -68010.9169 | -68787.6053 | -69620.7998 | -70517.8024 | 12953.2271 | 13269.6154 | 13591.7244 | 13939.4435 | 14294.3317 | 14645.821 | 15005.484 | 15392.9587 | 15771.9729 | -115761.7741
Federal Income Tax
Total taxable income before deductions |  | 3439500 | 3130840 | 3096340 | 3081080 | 3065940 | 3049980 | 3033460 | 3019380 | 3003420 | 2986920 | 2972180 | 2956440 | 2940420 | 2923960 | 2908740 | 2893060 | 2876880 | 2862020 | 2846520 | 2830580 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Deductions
Deductible operating expenses |  | 263560.3 | 270202.4 | 276802.5 | 283876.6375 | 291047.4259 | 298211.1566 | 305514.4005 | 313566.9105 | 321256.7233 | 329011.4614 | 337652.1354 | 345968.3463 | 354472.1874 | 363039.9471 | 372189.0108 | 381462.2636 | 390885.9927 | 400938.49 | 411007.5547 | 421176.7961 | 431774.236 | 442320.5119 | 453057.4797 | 464648.1167 | 476477.7246 | 488194.0327 | 500182.801 | 513098.6236 | 525732.4316 | -3858725.8026
Depreciation, Commercial only
Percentage |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Basis | 18688950
Amount |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest payment, Residential Mortgage and Commercial only |  | 769545 | 746271.9682 | 721835.2849 | 696176.7674 | 669235.324 | 640946.8084 | 611243.8671 | 580055.7787 | 547308.2859 | 512923.4184 | 476819.3076 | 438909.9912 | 399105.209 | 357310.1877 | 313425.4153 | 267346.4043 | 218963.4427 | 168161.3331 | 114819.118 | 58809.7922 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State income tax |  | 72191.841 | 63430.969 | 62931.0665 | 63030.7979 | 63169.7175 | 63324.661 | 63501.052 | 63772.7193 | 64045.6497 | 64349.5536 | 64731.2567 | 65146.8499 | 65605.2781 | 66108.296 | 66693.7672 | 67327.54 | 68010.9169 | 68787.6053 | 69620.7998 | 70517.8024 | -12953.2271 | -13269.6154 | -13591.7244 | -13939.4435 | -14294.3317 | -14645.821 | -15005.484 | -15392.9587 | -15771.9729 | 115761.7741
Total deductions |  | 1105297.141 | 1079905.3372 | 1061568.8513 | 1043084.2027 | 1023452.4674 | 1002482.6261 | 980259.3196 | 957395.4085 | 932610.6589 | 906284.4334 | 879202.6997 | 850025.1873 | 819182.6745 | 786458.4307 | 752308.1933 | 716136.2078 | 677860.3523 | 637887.4284 | 595447.4726 | 550504.3906 | 418821.0089 | 429050.8965 | 439465.7553 | 450708.6732 | 462183.3929 | 473548.2117 | 485177.317 | 497705.6649 | 509960.4587 | -3742964.0285
Total taxable income less deductions |  | 2334202.859 | 2050934.6628 | 2034771.1487 | 2037995.7973 | 2042487.5326 | 2047497.3739 | 2053200.6804 | 2061984.5915 | 2070809.3411 | 2080635.5666 | 2092977.3003 | 2106414.8127 | 2121237.3255 | 2137501.5693 | 2156431.8067 | 2176923.7922 | 2199019.6477 | 2224132.5716 | 2251072.5274 | 2280075.6094 | -418821.0089 | -429050.8965 | -439465.7553 | -450708.6732 | -462183.3929 | -473548.2117 | -485177.317 | -497705.6649 | -509960.4587 | 3742964.0285
Income tax rate (%/year) |  | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Income Taxes |  | 490182.6004 | 430696.2792 | 427301.9412 | 427979.1174 | 428922.3818 | 429974.4485 | 431172.1429 | 433016.7642 | 434869.9616 | 436933.469 | 439525.2331 | 442347.1107 | 445459.8384 | 448875.3295 | 452850.6794 | 457153.9964 | 461794.126 | 467067.84 | 472725.2308 | 478815.878 | -87952.4119 | -90100.6883 | -92287.8086 | -94648.8214 | -97058.5125 | -99445.1245 | -101887.2366 | -104518.1896 | -107091.6963 | 786022.446
Federal PTC |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Federal ITC |  | 6596100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Federal tax savings/liability |  | 6105917.3996 | -430696.2792 | -427301.9412 | -427979.1174 | -428922.3818 | -429974.4485 | -431172.1429 | -433016.7642 | -434869.9616 | -436933.469 | -439525.2331 | -442347.1107 | -445459.8384 | -448875.3295 | -452850.6794 | -457153.9964 | -461794.126 | -467067.84 | -472725.2308 | -478815.878 | 87952.4119 | 90100.6883 | 92287.8086 | 94648.8214 | 97058.5125 | 99445.1245 | 101887.2366 | 104518.1896 | 107091.6963 | -786022.446
After-tax annual costs | -6596100 | 7974659.6234 | 1131504.7167 | 1094298.8571 | 1071187.812 | 1047794.8395 | 1023464.0986 | 998266.7694 | 974017.9708 | 948242.0302 | 921619.8808 | 895265.7396 | 867972.058 | 839877.0609 | 810930.7922 | 782000.9074 | 752110.5649 | 721183.3292 | 690220.4295 | 658160.7795 | 625063.8884 | -330868.597 | -338950.2083 | -347177.9467 | -356059.8518 | -365124.8804 | -374103.0873 | -383290.0804 | -393187.4752 | -402868.7624 | 2956941.5825
After-tax value of energy generated by system | 0 | 509219.6836 | 475224.3933 | 479186.3176 | 489644.78 | 499912.0506 | 508997.0735 | 518537.4318 | 531017.4703 | 540476.4476 | 550186.2349 | 562609.1073 | 573706.8172 | 583982.0573 | 595216.2451 | 608565.0379 | 619366.6494 | 630501.6015 | 645431.3477 | 657233.4406 | 668936.3742 | 683188.0982 | 697069.3162 | 709030.876 | 723286.4315 | 739136.2742 | 751867.8123 | 765350.9374 | 783402.9731 | 796689.9254 | 810391.3694
After-tax cash flow | -6596100 | 8483879.307 | 1606729.11 | 1573485.1747 | 1560832.592 | 1547706.8901 | 1532461.1721 | 1516804.2013 | 1505035.441 | 1488718.4777 | 1471806.1157 | 1457874.847 | 1441678.8752 | 1423859.1182 | 1406147.0373 | 1390565.9453 | 1371477.2143 | 1351684.9307 | 1335651.7772 | 1315394.2201 | 1294000.2625 | 352319.5011 | 358119.1079 | 361852.9293 | 367226.5797 | 374011.3939 | 377764.7251 | 382060.857 | 390215.4978 | 393821.163 | 3767332.9519
Payback Period Calculation
Initial investment | 21987000
Effective tax rate factor |  | 0.2337 | 0.2337 | 0.2337 | 0.2337 | 0.2337 | 0.2337 | 0.2337 | 0.2337 | 0.2337 | 0.2337 | 0.2337 | 0.2337 | 0.2337 | 0.2337 | 0.2337 | 0.2337 | 0.2337 | 0.2337 | 0.2337 | 0.2337 | 0.2337 | 0.2337 | 0.2337 | 0.2337 | 0.2337 | 0.2337 | 0.2337 | 0.2337 | 0.2337 | 0.2337
Cash flow for payback calculation | -21987000 | 9539042.2757 | 2667330.9862 | 2639797.9039 | 2633141.7167 | 2626312.2301 | 2617677.5382 | 2608962.1447 | 2604482.0407 | 2595818.1665 | 2586941.548 | 2581447.81 | 2574111.2454 | 2565593.866 | 2557649.2817 | 2552324.0609 | 2544003.9949 | 2535518.8093 | 2531358.1089 | 2523566.6274 | 2515262.0493 | 352319.5011 | 358119.1079 | 361852.9293 | 367226.5797 | 374011.3939 | 377764.7251 | 382060.857 | 390215.4978 | 393821.163 | 3767332.9519
Cumulative cash flow | -21987000 | -12447957.7243 | -9780626.738 | -7140828.8342 | -4507687.1175 | -1881374.8874 | 736302.6508 | 3345264.7955 | 5949746.8362 | 8545565.0028 | 11132506.5508 | 13713954.3608 | 16288065.6062 | 18853659.4723 | 21411308.7539 | 23963632.8148 | 26507636.8097 | 29043155.619 | 31574513.7279 | 34098080.3553 | 36613342.4046 | 36965661.9057 | 37323781.0136 | 37685633.943 | 38052860.5227 | 38426871.9166 | 38804636.6416 | 39186697.4986 | 39576912.9965 | 39970734.1595 | 43738067.1114
Payback fraction |  | 1 | 1 | 1 | 1 | 1 | 0.71872 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Payback period |  | 5.7187
Discounted savings | 0 | 450311.9159 | 384390.7479 | 355663.4479 | 332745.1328 | 311243.694 | 290884.4198 | 271900.5452 | 254559.1742 | 237823.3968 | 222261.1442 | 207954.9485 | 194388.6952 | 181636.5786 | 169743.3626 | 158770.8736 | 148332.9113 | 138634.1668 | 129697.3635 | 121193.2158 | 113243.3165 | 105877.834 | 98968.2325 | 92438.9456 | 86418.4485 | 80807.8936 | 75473.9713 | 70506.1759 | 65955.1399 | 61584.1994 | 57524.1888
Discounted costs | 21987000 | -8279683.2864 | -1843022.6881 | -1665636.467 | -1515168.3636 | -1378216.7809 | -1253192.5792 | -1139137.3127 | -1036030.813 | -941661.0291 | -855625.9041 | -777644.6617 | -706532.0822 | -641751.9073 | -582744.1728 | -529248.9708 | -480508.434 | -436099.427 | -395863.94 | -359207.0113 | -325835.5321 | 53540.2247 | 50291.5535 | 47233.0275 | 44417.1988 | 41764.193 | 39236.3378 | 36860.3334 | 34670.9596 | 32573.4896 | -219218.8747
Cash flow for discounted payback calculation | -21987000 | 8729995.2023 | 2227413.4359 | 2021299.915 | 1847913.4965 | 1689460.4749 | 1544076.999 | 1411037.8579 | 1290589.9872 | 1179484.4259 | 1077887.0483 | 985599.6102 | 900920.7774 | 823388.4859 | 752487.5355 | 688019.8444 | 628841.3453 | 574733.5937 | 525561.3035 | 480400.2271 | 439078.8486 | 52337.6093 | 48676.679 | 45205.9181 | 42001.2497 | 39043.7006 | 36237.6335 | 33645.8425 | 31284.1804 | 29010.7097 | 276743.0635
Cumulative discounted cash flow | -21987000 | -13257004.7977 | -11029591.3618 | -9008291.4468 | -7160377.9504 | -5470917.4755 | -3926840.4765 | -2515802.6186 | -1225212.6314 | -45728.2055 | 1032158.8428 | 2017758.453 | 2918679.2304 | 3742067.7163 | 4494555.2518 | 5182575.0962 | 5811416.4414 | 6386150.0352 | 6911711.3386 | 7392111.5658 | 7831190.4144 | 7883528.0236 | 7932204.7026 | 7977410.6207 | 8019411.8704 | 8058455.571 | 8094693.2044 | 8128339.0469 | 8159623.2273 | 8188633.9371 | 8465377.0006
Discounted payback fraction |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.042424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Discounted payback period |  | 9.0424